plastering quantity Estimation

1) celling Ratio 1:2 or 1:3 or 1:4  (10 mm thickness )

2) Brick work

External-- 1:6 (20 mm thickness )

Internal-- 1:4 or 1:5 (12 mm thickness )

Length = 1 meter

Hight = 1 meter

Thickness= 12 mm=0.012 meter

Volume =1 x1x 0.012=0.012 m3

cement=17 volumeDry volume) (Density=17 0.0121.35) (1440=3.332 Kg=0.06664 bag

Sand=67 volumeDry volume1 m2=35.287 cft=67 0.0121.3535.28=0.4899cft=0.004899 unit

Calculate  Ratio  1:1  →20.4 bags of cement per m3

Ratio  1:2  →13.6 bags of cement per m3

Ratio  1:3  →10.2 bags of cement per m3

Ratio  1:4  →7.6 bags of cement per m3

Ratio  1:5  →6.2 bags ofcement per m3

Ratio  1:6  →5 bags of cement per m3